Infosys Springboard.

CliniScan Lung-Abnormality Detection on Chest X-rays using AI

Bhavya Danala 
Batch 6

1. Dataset & goal (preprocessing scope)

Dataset: VinDr-CXR / VinBigData style chest X-rays (DICOM).
Preprocessing goal: Convert raw DICOMs into model-ready images (JPEG/PNG), uniform size and shape, improved contrast and reduced noise, with consistent coordinate mapping for bounding boxes. This improves model convergence, reduces false positives, and ensures annotation coordinates stay correct after transforms.

Primary pipeline steps covered here:

- Read DICOM → image array (pixel values, apply rescale if present)

- Intensity scaling → 8-bit (0–255)

- Contrast enhancement (CLAHE)

- Denoising (Gaussian + median)

- Resize with aspect-ratio preservation + padding (uniform target shape)

- Convert to 3-channel RGB (many pretrained CNNs expect 3 channels)

- Save to JPEG/PNG and record per-image transform metadata (scale & padding) for box remapping

2. Libraries — short summary and concrete use-cases

- pydicom
Use: Read DICOM files and access pixel arrays and metadata (Rescale Slope/Intercept, ImageOrientation, etc.).
Why: DICOM stores modality-specific metadata that may change pixel scaling; must be applied for correct intensity and coordinates.

- NumPy
Use: Numerical operations on image arrays (dtype conversion, normalization, padding).
Why: Fast array math and manipulations.

- OpenCV (opencv-python)
Use: Image conversion, resizing, padding, CLAHE, blurring, saving JPG.
Why: Fast implementations of many image ops and straightforward I/O.

- Pillow (PIL)
Use: Alternative image load/save and conversions, sometimes simpler for grayscale→RGB.
Why: Simpler when you only need basic save/load.

- scikit-image (exposure)
Use: Alternative contrast transforms (histogram equalization, exposure adjustments).
Why: Provides high-level image processing utilities.

- scikit-learn
Use: Later training/evaluation (AUC/F1) — not used in preprocessing but included for pipeline completeness.

- pandas
Use: Reading/writing CSV annotation files, storing per-image metadata (scale/offset).
Why: Convenient tabular storage for mapping coordinates from original to pre-processed images.

- tqdm
Use: Progress bars for long processing tasks.
Why: Helpful when processing tens of thousands of files.

- albumentations (optional during augmentation stage later)
Use: Augmentations (rotations, flips, elastic transforms).
Why: Industry-standard augmentations with box support.

3. Preprocessing — step-by-step purpose & notes

- Read DICOM and apply rescale

  - Many DICOMs include RescaleSlope / RescaleIntercept. Apply them: pixel_value * slope + intercept.

  - Keep original pixel coordinates if you will map bounding boxes later.

- Convert to 8-bit (0–255)

  - Medical images can be in various intensity ranges. Normalize to 0–255 then cast to uint8. This standardizes inputs across scanners.

- Intensity normalization choice (min-max or z-score)

  - Min-max: good before saving as JPEG/PNG.

  - Z-score: useful when feeding networks that expect mean-zero inputs (do this again in dataloader).

  - Wrap normalization so you can reapply consistent transforms during inference.

- Contrast enhancement (CLAHE)

  - Contrast Limited Adaptive Histogram Equalization. Improves local contrast and highlights subtle opacities; avoids overamplifying noise.

  - Be conservative with clipLimit/tileGridSize so you don’t over-enhance.

- Denoising

  - Small Gaussian blur + median filter reduces sensor and compression noise while preserving edges. Choose small kernels (e.g., 3×3).

- Resize + pad

  - Preserve aspect ratio. Resize the image so the longer side fits into the target dimension, then center-pad to reach target (H, W) (e.g., 1024×1024).

  - Record scale, pad_left, pad_top for each image so bounding boxes can be remapped precisely:

  - x_new = x_original * scale + pad_left

  - y_new = y_original * scale + pad_top

- Convert to 3 channels

  - Convert grayscale to RGB by duplicating channels. Many pretrained models expect 3-channel inputs.

- Save image files and per-image metadata

  - Save preprocessed images as JPEG (or PNG).

  - SaveCSV mapping: image_id,filename,scale,pad_left,pad_top,orig_width,orig_height — this is essential for converting annotations to training formats (YOLO or COCO).